## Slide 1: Nordic Totalys user meeting AX-lab 6/4-22

## Slide 2: Focal Point analog from 2006
Not in use

## Slide 3: Totalys slideprep juni 2014
Urin
Vacuum
Syringe and plunger

## Slide 4: Totalys multiprocesser november 2014
Afpipetering HPV
4 characters
IO Port open
Warning HPV
Noise from elevator

## Slide 5: Viper nov 2018
Reading of barcode
Initializing after restart

## Slide 6: Generel
Kit
EA/OG versus Hæm